## Dehsard
BoardPortMapping (دهسرد)
From | To
Client to Bahonar,GE,Rx | 2a,1~5,C3,S10~11,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client to Bahonar,GE,Tx | 2a,1~5,C3,S10~11,MP2X+,Rx1
Client to Bahonar,GE,Rx | 2a,1~5,C3,S10~11,MP2X+,Tx2 |  |  |  | Rack 1
Client to Bahonar,GE,Tx | 2a,1~5,C3,S10~11,MP2X+,Rx2
Client to Bahonar,GE,Rx | 2a,1~5,C3,S10~11,MP2X+,Tx3 |  |  |  |  | PDU
Client to Bahonar,GE,Tx | 2a,1~5,C3,S10~11,MP2X+,Rx3
Client to Motahari,GE,Rx | 2a,1~5,C3,S10~11,MP2X+,Tx4 |  | To Motahari
Client to Motahari,GE,Tx | 2a,1~5,C3,S10~11,MP2X+,Rx4
2a,1~5,C3,S10~11,MP2X+,Tx15 | 2a,1~5,C3,S12,TP2X,Cli1,Rx | MP2X+ to TP2X
2a,1~5,C3,S12,TP2X,Cli1,Tx | 2a,1~5,C3,S10~11,MP2X+,Rx15 | TP2X to PS6X
2a,1~5,C3,S12,TP2X,Line1,Tx | 2a,1~5,C1,S11~12,MD48E,Rx50 | TP2X to MD48E
2a,1~5,C1,S11~12,MD48E,Tx50 | 2a,1~5,C3,S12,TP2X,Line1,Rx | MD48E to TP2X
2a,1~5,C1,S11~12,MD48E,COM,Tx | 2a,1~5,C3,S9,WS4,S-in | MD48E to WSS
2a,1~5,C1,S11~12,MD48E,COM,Rx | 2a,1~5,C3,S9,WS4,S-out
2a,1~5,C3,S9,WS4,in1 | 2a,1~5,C1,S10,WS9,out1 | WSS to WSS |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2a,1~5,C3,S9,WS4,out1 | 2a,1~5,C1,S10,WS9,in1 |  |  | To Orzuiyeh |  | PWR |  | TP2X | MP2X+ |  | WS4 | WS4 | OA | OA | FIM | DCM | IFC | SC | SC
2a,1~5,C3,S9,WS4,in2 | 2a,1~5,C3,S8,WS9,out2
2a,1~5,C3,S9,WS4,out2 | 2a,1~5,C3,S8,WS9,in2
2a,1~5,C3,S9,WS4,in3 | 2a,1~5,C2,S8,WS9,out4 |  |  |  |  | PWR
2a,1~5,C3,S9,WS4,out3 | 2a,1~5,C2,S8,WS9,in4
2a,1~5,C1,S10,WS9,in3 | 2a,1~5,C2,S8,WS9,out2
2a,1~5,C1,S10,WS9,out3 | 2a,1~5,C2,S8,WS9,in2 |  |  |  |  | FAN / HB
2a,1~5,C1,S10,WS9,in4 | 2a,1~5,C3,S8,WS9,out1 |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2a,1~5,C1,S10,WS9,out4 | 2a,1~5,C3,S8,WS9,in1 |  |  | To Sooghan |  | PWR | [5 empty] | WS4 | OA | OA | FIM | DCM | IFC | SC | SC
2a,1~5,C3,S8,WS9,in4 | 2a,1~5,C2,S8,WS9,out1
2a,1~5,C3,S8,WS9,out4 | 2a,1~5,C2,S8,WS9,in1
PWR
2a,1~5,C1,S10,WS9,S-out | 2a,1~5,C1,S6,OA,S-in | WSS to OA
2a,1~5,C1,S10,WS9,S-in | 2a,1~5,C1,S9,DCM,DCM-out
2a,1~5,C1,S9,DCM,DCM-in | 2a,1~5,C1,S7,OA,S-out |  |  |  |  | FAN / HB
2a,1~5,C3,S8,WS9,S-out | 2a,1~5,C3,S6,OA,S-in |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2a,1~5,C3,S8,WS9,S-in | 2a,1~5,C3,S4,DCM,DCM-out |  |  | To Baft |  | PWR | HKP | MD48-E |  | WS4 | DCM | OCM | OA | OA | FIM | OS5 | IFC | SC | SC
2a,1~5,C3,S4,DCM,DCM-in | 2a,1~5,C3,S7,OA,S-out
2a,1~5,C2,S8,WS9,S-out | 2a,1~5,C2,S6,OA,S-in
2a,1~5,C2,S8,WS9,S-in | 2a,1~5,C2,S4,DCM,DCM-out |  |  |  |  | PWR
2a,1~5,C2,S4,DCM,DCM-in | 2a,1~5,C2,S7,OA,S-out
2a,1~5,C2,S6,OA,S-out | 2a,1~5,C2,S5,FIM,SIG-I | OA to FIM |  |  |  | FAN / HB
2a,1~5,C2,S7,OA,S-in | 2a,1~5,C2,S5,FIM,SIG-O
2a,1~5,C1,S6,OA,S-out | 2a,1~5,C1,S5,FIM,SIG-I
2a,1~5,C1,S7,OA,S-in | 2a,1~5,C1,S5,FIM,SIG-O
2a,1~5,C3,S6,OA,S-out | 2a,1~5,C3,S5,FIM,SIG-I
2a,1~5,C3,S7,OA,S-in | 2a,1~5,C3,S5,FIM,SIG-O |  |  |  | Rack Address: 2a,1~5
2a,1~5,C1,S6,OA,MON | 2a,1~5,C1,S8,OCM,1 | OA to OCM
2a,1~5,C1,S7,OA,MON | 2a,1~5,C1,S8,OCM,2
2a,1~5,C2,S7,OA,MON | 2a,1~5,C1,S8,OCM,3
2a,1~5,C3,S7,OA,MON | 2a,1~5,C1,S8,OCM,4
2a,1~5,C1,S4,OS5,D1,Tx | 2a,1~5,C1,S5,FIM,OSC-I | OS5 to FIM
2a,1~5,C1,S4,OS5,D1,Rx | 2a,1~5,C1,S5,FIM,OSC-O
2a,1~5,C1,S4,OS5,D2,Tx | 2a,1~5,C2,S5,FIM,OSC-I
2a,1~5,C1,S4,OS5,D2,Rx | 2a,1~5,C2,S5,FIM,OSC-O
2a,1~5,C1,S4,OS5,D3,Tx | 2a,1~5,C3,S5,FIM,OSC-I
2a,1~5,C1,S4,OS5,D3,Rx | 2a,1~5,C3,S5,FIM,OSC-O
2a,1~5,C2,S5,FIM,LINE-O | Line to Sooghan,Tx | FIM to ODF
2a,1~5,C2,S5,FIM,LINE-I | Line to Sooghan,Rx
2a,1~5,C1,S5,FIM,LINE-O | Line to Baft,Tx
2a,1~5,C1,S5,FIM,LINE-I | Line to Baft,Rx
2a,1~5,C3,S5,FIM,LINE-O | Line to Orzuiyeh,Tx
2a,1~5,C3,S5,FIM,LINE-I | Line to Orzuiyeh,Rx