## Fahraj
Board Port Mapping (فهرج)
From | To
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx1
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx2 |  |  |  | Rack 1
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx2
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx3 |  |  |  |  | PDU
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx3
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx4
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx4
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx5
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx5
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx6
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx6
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx7
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx7
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx8
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx8
Client to Etemadi Bam,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx9 |  | To Etemadi Bam
Client to Etemadi Bam,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx9
[6 empty] | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client to Rigan,STM-64,Rx | 2b,1~5,C3,S6~7,TPAX,Cli2,Tx | ODF to TPAX | To Rigan |  |  | PWR | [6 empty] | TP2X-A |  | MP2X+ |  | IFC | SC | SC
Client to Rigan,STM-64,Tx | 2b,1~5,C3,S6~7,TPAX,Cli2,Rx
Client to Rostam Abad,STM-64,Rx | 2b,1~5,C3,S6~7,TPAX,Cli1,Tx |  | To Rostam Abad
Client to Rostam Abad,STM-64,Tx | 2b,1~5,C3,S6~7,TPAX,Cli1,Rx |  |  |  |  | PWR
Client to Etemadi Bam,STM-64,Rx | 2b,1~5,C3,S6~7,TPAX,Cli4,Tx |  | To Etemadi Bam
Client to Etemadi Bam,STM-64,Tx | 2b,1~5,C3,S6~7,TPAX,Cli4,Rx
Client to Etemadi Bam,10GE,Rx | 2b,1~5,C3,S6~7,TPAX,Cli5,Tx |  |  |  |  | FAN / HB
Client to Etemadi Bam,10GE,Tx | 2b,1~5,C3,S6~7,TPAX,Cli5,Rx |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
|  |  |  | To Rigan |  | PWR |  | DCM | MD48-E |  | MD48-E |  | OA | OA | FIM | WS4 | IFC | SC | SC
2b,1~5,C3,S4~5,MP2X+,Tx15 | 2b,1~5,C3,S6~7,TPAX,Cli3,Rx | MP2X+ to TPAX
2b,1~5,C3,S6~7,TPAX,Cli3,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx15
PWR
2b,1~5,C3,S6~7,TPAX,Line1,Tx | 2b,1~5,C1,S10,SM2,COM1,Rx | TPAX to SM2
2b,1~5,C1,S10,SM2,COM1,Tx | 2b,1~5,C3,S6~7,TPAX,Line1,Rx
2b,1~5,C3,S6~7,TPAX,Line2,Tx | 2b,1~5,C1,S10,SM2,COM2,Rx |  |  |  |  | FAN / HB
2b,1~5,C1,S10,SM2,COM2,Tx | 2b,1~5,C3,S6~7,TPAX,Line2,Rx |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2b,1~5,C3,S6~7,TPAX,Line3,Tx | 2b,1~5,C1,S11,SM2,COM1,Rx |  |  | To Rostam Abad |  | PWR | HKP | SM2 | SM2 | SM2 | WS4 | OCM | OA | OA | FIM | OS5 | IFC | SC | SC
2b,1~5,C1,S11,SM2,COM1,Tx | 2b,1~5,C3,S6~7,TPAX,Line3,Rx
2b,1~5,C3,S6~7,TPAX,Line4,Tx | 2b,1~5,C1,S11,SM2,COM2,Rx
2b,1~5,C1,S11,SM2,COM2,Tx | 2b,1~5,C3,S6~7,TPAX,Line4,Rx |  |  |  |  | PWR
2b,1~5,C3,S6~7,TPAX,Line5,Tx | 2b,1~5,C1,S12,SM2,COM1,Rx
2b,1~5,C1,S12,SM2,COM1,Tx | 2b,1~5,C3,S6~7,TPAX,Line5,Rx
FAN / HB
2b,1~5,C1,S10,SM2,A1,Tx | 2b,1~5,C2,S8~9,MD48E,Rx30 | SM2 to MD48E
2b,1~5,C2,S8~9,MD48E,Tx30 | 2b,1~5,C1,S10,SM2,A1,Rx
2b,1~5,C1,S10,SM2,A2,Tx | 2b,1~5,C2,S8~9,MD48E,Rx12
2b,1~5,C2,S8~9,MD48E,Tx12 | 2b,1~5,C1,S10,SM2,A2,Rx
2b,1~5,C1,S10,SM2,B1,Tx | 2b,1~5,C2,S10~11,MD48E,Rx30 |  |  |  | Rack Address: 2b,1~5
2b,1~5,C2,S10~11,MD48E,Tx30 | 2b,1~5,C1,S10,SM2,B1,Rx
2b,1~5,C1,S10,SM2,B2,Tx | 2b,1~5,C2,S10~11,MD48E,Rx12
2b,1~5,C2,S10~11,MD48E,Tx12 | 2b,1~5,C1,S10,SM2,B2,Rx
2b,1~5,C1,S11,SM2,A1,Tx | 2b,1~5,C2,S8~9,MD48E,Rx82
2b,1~5,C2,S8~9,MD48E,Tx82 | 2b,1~5,C1,S11,SM2,A1,Rx
2b,1~5,C1,S11,SM2,A2,Tx | 2b,1~5,C2,S8~9,MD48E,Rx28
2b,1~5,C2,S8~9,MD48E,Tx28 | 2b,1~5,C1,S11,SM2,A2,Rx
2b,1~5,C1,S11,SM2,B1,Tx | 2b,1~5,C2,S10~11,MD48E,Rx82
2b,1~5,C2,S10~11,MD48E,Tx82 | 2b,1~5,C1,S11,SM2,B1,Rx
2b,1~5,C1,S11,SM2,B2,Tx | 2b,1~5,C2,S10~11,MD48E,Rx28
2b,1~5,C2,S10~11,MD48E,Tx28 | 2b,1~5,C1,S11,SM2,B2,Rx
2b,1~5,C1,S12,SM2,A1,Tx | 2b,1~5,C2,S8~9,MD48E,Rx8
2b,1~5,C2,S8~9,MD48E,Tx8 | 2b,1~5,C1,S12,SM2,A1,Rx
2b,1~5,C1,S12,SM2,B1,Tx | 2b,1~5,C2,S10~11,MD48E,Rx8
2b,1~5,C2,S10~11,MD48E,Tx8 | 2b,1~5,C1,S12,SM2,B1,Rx
2b,1~5,C2,S8~9,MD48E,COM,Tx | 2b,1~5,C1,S9,WS4,in1 | MD48E to WSS
2b,1~5,C2,S10~11,MD48E,COM,Rx | 2b,1~5,C2,S4,WS4,out2
2b,1~5,C2,S8~9,MD48E,COM,Rx | 2b,1~5,C1,S9,WS4,out1
2b,1~5,C2,S10~11,MD48E,COM,Tx | 2b,1~5,C2,S4,WS4,in2
2b,1~5,C1,S9,WS4,in2 | 2b,1~5,C2,S4,WS4,out1 | WSS to WSS
2b,1~5,C1,S9,WS4,out2 | 2b,1~5,C2,S4,WS4,in1
2b,1~5,C1,S9,WS4,S-out | 2b,1~5,C1,S6,OA,S-in | WSS to OA
2b,1~5,C2,S4,WS4,S-out | 2b,1~5,C2,S6,OA,S-in
2b,1~5,C1,S9,WS4,S-in | 2b,1~5,C1,S7,OA,S-out
2b,1~5,C2,S4,WS4,S-in | 2b,1~5,C2,S12,DCM,DCM-out
2b,1~5,C2,S12,DCM,DCM-in | 2b,1~5,C2,S7,OA,S-out
2b,1~5,C1,S6,OA,S-out | 2b,1~5,C1,S5,FIM,SIG-I | OA to FIM
2b,1~5,C2,S6,OA,S-out | 2b,1~5,C2,S5,FIM,SIG-I
2b,1~5,C1,S7,OA,S-in | 2b,1~5,C1,S5,FIM,SIG-O
2b,1~5,C2,S7,OA,S-in | 2b,1~5,C2,S5,FIM,SIG-O
2b,1~5,C1,S8,OCM,1 | 2b,1~5,C1,S6,OA,MON | OA to OCM
2b,1~5,C1,S8,OCM,2 | 2b,1~5,C1,S7,OA,MON
2b,1~5,C1,S8,OCM,3 | 2b,1~5,C2,S6,OA,MON
2b,1~5,C1,S8,OCM,4 | 2b,1~5,C2,S7,OA,MON
2b,1~5,C1,S4,OS5,D1,Tx | 2b,1~5,C1,S5,FIM,OSC-I | OS5 to FIM
2b,1~5,C1,S4,OS5,D1,Rx | 2b,1~5,C1,S5,FIM,OSC-O
2b,1~5,C1,S4,OS5,D2,Tx | 2b,1~5,C2,S5,FIM,OSC-I
2b,1~5,C1,S4,OS5,D2,Rx | 2b,1~5,C2,S5,FIM,OSC-O
2b,1~5,C1,S5,FIM,LINE-O | Line to Rostam Abad,Tx | FIM to ODF
2b,1~5,C1,S5,FIM,LINE-I | Line to Rostam Abad,Rx
2b,1~5,C2,S5,FIM,LINE-O | Line to Rigan,Tx
2b,1~5,C2,S5,FIM,LINE-I | Line to Rigan,Rx