## Ghale Ganj
Board Port Mapping (قلعه گنج)
From | To
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx1
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx2 |  |  |  | Rack 1
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx2
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx3 |  |  |  |  | PDU
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx3
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx4
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx4
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx5
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx5
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx6
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx6
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx7
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx7
Client to Bahonar,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx8
Client to Bahonar,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx8
Client to Kahnooj,GE,Rx | 2a,1~5,C2,S4~5,MP2X+,Tx9 |  | To Kahnooj
Client to Kahnooj,GE,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx9
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx1 |  | To Motahari
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx1
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx2
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx2
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx3
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx3
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx4
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx4
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx5 |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx5 |  |  |  |  | PWR |  |  |  |  | TP2X-A |  | MP2X+ |  | MP2X+ |  | IFC | SC | SC
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx6
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx6
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx7 |  |  |  |  | PWR
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx7
Client to Motahari,GE,Rx | 2a,1~5,C2,S6~7,MP2X+,Tx8
Client to Motahari,GE,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx8 |  |  |  |  | FAN / HB
[6 empty] | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client to Bahonar,10GE,Rx | 2a,1~5,C2,S8~9,TPAX,Tx3 | ODF to TPAX | To Bahonar | To Kahnooj |  | PWR | HKP |  | DCM | MD48-E |  | OCM | OA | OA | FIM | OS5 | IFC | SC | SC
Client to Bahonar,10GE,Tx | 2a,1~5,C2,S8~9,TPAX,Rx3
Client to Kahnooj,STM-64,Rx | 2a,1~5,C2,S8~9,TPAX,Tx5 |  | To Kahnooj
Client to Kahnooj,STM-64,Tx | 2a,1~5,C2,S8~9,TPAX,Rx5 |  |  |  |  | PWR
2a,1~5,C2,S6~7,MP2X+,Tx15 | 2a,1~5,C2,S8~9,TPAX,Cli2,Rx | MP2X+ to TPAX
2a,1~5,C2,S8~9,TPAX,Cli2,Tx | 2a,1~5,C2,S6~7,MP2X+,Rx15 |  |  |  |  | FAN / HB
2a,1~5,C2,S4~5,MP2X+,Tx15 | 2a,1~5,C2,S8~9,TPAX,Cli1,Rx
2a,1~5,C2,S8~9,TPAX,Cli1,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx15
2a,1~5,C2,S4~5,MP2X+,Tx16 | 2a,1~5,C2,S8~9,TPAX,Cli4,Rx
2a,1~5,C2,S8~9,TPAX,Cli4,Tx | 2a,1~5,C2,S4~5,MP2X+,Rx16
Rack Address: 2a,1~5
2a,1~5,C2,S8~9,TPAX,Line1,Tx | 2a,1~5,C1,S9~10,MD48E,Rx40 | TPAX to MD48E
2a,1~5,C1,S9~10,MD48E,Tx40 | 2a,1~5,C2,S8~9,TPAX,Line1,Rx
2a,1~5,C2,S8~9,TPAX,Line2,Tx | 2a,1~5,C1,S9~10,MD48E,Rx58
2a,1~5,C1,S9~10,MD48E,Tx58 | 2a,1~5,C2,S8~9,TPAX,Line2,Rx
2a,1~5,C2,S8~9,TPAX,Line3,Tx | 2a,1~5,C1,S9~10,MD48E,Rx44
2a,1~5,C1,S9~10,MD48E,Tx44 | 2a,1~5,C2,S8~9,TPAX,Line3,Rx
2a,1~5,C2,S8~9,TPAX,Line4,Tx | 2a,1~5,C1,S9~10,MD48E,Rx46
2a,1~5,C1,S9~10,MD48E,Tx46 | 2a,1~5,C2,S8~9,TPAX,Line4,Rx
2a,1~5,C2,S8~9,TPAX,Line5,Tx | 2a,1~5,C1,S9~10,MD48E,Rx64
2a,1~5,C1,S9~10,MD48E,Tx64 | 2a,1~5,C2,S8~9,TPAX,Line5,Rx
2a,1~5,C1,S9~10,MD48E,COM,Tx | 2a,1~5,C1,S6,OA,S-in | MD48E to OA
2a,1~5,C1,S9~10,MD48E,COM,Rx | 2a,1~5,C1,S11,DCM,DCM-out
2a,1~5,C1,S11,DCM,DCM-in | 2a,1~5,C1,S7,OA,S-out
2a,1~5,C1,S6,OA,MON | 2a,1~5,C1,S8,OCM,1 | OA to OCM | فعلا در این ایستگاه OCM نصب نشود و فقط Patch Cordها کشیده شود و در زمان Expansion پروژه، OCM مربوط به این ایستگاه نصب خواهد شد که بهتر است، در این مرحله Patch Cordریزی انجام پذیرد.
2a,1~5,C1,S7,OA,MON | 2a,1~5,C1,S8,OCM,2
2a,1~5,C1,S6,OA,S-out | 2a,1~5,C1,S5,FIM,SIG-I | OA to FIM
2a,1~5,C1,S7,OA,S-in | 2a,1~5,C1,S5,FIM,SIG-O
2a,1~5,C1,S4,OS5,D1,Tx | 2a,1~5,C1,S5,FIM,OSC-I | OS5 to FIM
2a,1~5,C1,S4,OS5,D1,Rx | 2a,1~5,C1,S5,FIM,OSC-O
2a,1~5,C1,S5,FIM,LINE-I | Line to Kahnooj,Rx | FIM to ODF
2a,1~5,C1,S5,FIM,LINE-O | Line to Kahnooj,Tx