## Payambar Azam
Board Port Mapping (پیامبر اعظم)
From | To
Client to Bahonar,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client to Bahonar,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx1
Client to Bahonar,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx2 |  |  |  |  | Rack 1
Client to Bahonar,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx2
Client to Bahonar,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx3 | [5 empty] | PDU
Client to Bahonar,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx3
Client to Bahonar,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx4
Client to Bahonar,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx4
Client to Ghotbi,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx5 |  | To Ghotbi
Client to Ghotbi,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx5
Client to Ghotbi,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx6
Client to Ghotbi,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx6
Client to Etemadi,GE,Rx | 1,14~18,C2,S8~9,MP2X+,Tx7 |  | To Etemadi
Client to Etemadi,GE,Tx | 1,14~18,C2,S8~9,MP2X+,Rx7
Client to Etemadi,10GE,Rx | 1,14~18,C2,S4~5,TPAX,Tx2 | ODF to TPAX | To Etemadi
Client to Etemadi,10GE,Tx | 1,14~18,C2,S4~5,TPAX,Rx2
Client to Etemadi,STM-64,Rx | 1,14~18,C2,S4~5,TPAX,Tx3
Client to Etemadi,STM-64,Tx | 1,14~18,C2,S4~5,TPAX,Rx3
Client to Bahonar,10GE,Rx | 1,14~18,C2,S4~5,TPAX,Tx4 |  | To Bahonar
Client to Bahonar,10GE,Tx | 1,14~18,C2,S4~5,TPAX,Rx4
Client to Etemadi,STM-16,Rx | 1,14~18,C2,S6~7,MP2X,Tx1 | ODF to MP2X | To Etemadi
Client to Etemadi,STM-16,Tx | 1,14~18,C2,S6~7,MP2X,Rx1
Client to Etemadi,STM-16,Rx | 1,14~18,C2,S6~7,MP2X,Tx2
Client to Etemadi,STM-16,Tx | 1,14~18,C2,S6~7,MP2X,Rx2
Client to Etemadi,STM-16,Rx | 1,14~18,C2,S6~7,MP2X,Tx3 | [5 empty] | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client to Etemadi,STM-16,Tx | 1,14~18,C2,S6~7,MP2X,Rx3 | [5 empty] | PWR |  |  |  |  | MP2X+ |  | MP2X |  | TP2X-A |  | IFC | SC | SC
1,14~18,C2,S8~9,MP2X+,Tx15 | 1,14~18,C2,S4~5,TPAX,Cli1,Rx | MP2X+ to TPAX
1,14~18,C2,S4~5,TPAX,Cli1,Tx | 1,14~18,C2,S8~9,MP2X+,Rx15 | [5 empty] | PWR
1,14~18,C2,S6~7,MP2X,Line1,Tx | 1,14~18,C1,S9~10,MD48E,Rx22 | MP2X to MD48E
1,14~18,C1,S9~10,MD48E,Tx22 | 1,14~18,C2,S6~7,MP2X,Line1,Rx | [5 empty] | FAN / HB
[7 empty] | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
1,14~18,C2,S4~5,TPAX,Line1,Tx | 1,14~18,C1,S9~10,MD48E,Rx88 | TPAX to MD48E |  |  | To Etemadi |  | PWR | HKP |  |  | MD48-E |  |  | OA | OA | FIM | OS5 | IFC | SC | SC
1,14~18,C1,S9~10,MD48E,Tx88 | 1,14~18,C2,S4~5,TPAX,Line1,Rx
1,14~18,C2,S4~5,TPAX,Line2,Tx | 1,14~18,C1,S9~10,MD48E,Rx62
1,14~18,C1,S9~10,MD48E,Tx62 | 1,14~18,C2,S4~5,TPAX,Line2,Rx | [5 empty] | PWR
1,14~18,C2,S4~5,TPAX,Line3,Tx | 1,14~18,C1,S9~10,MD48E,Rx42
1,14~18,C1,S9~10,MD48E,Tx42 | 1,14~18,C2,S4~5,TPAX,Line3,Rx
1,14~18,C2,S4~5,TPAX,Line4,Tx | 1,14~18,C1,S9~10,MD48E,Rx78 | [5 empty] | FAN / HB
1,14~18,C1,S9~10,MD48E,Tx78 | 1,14~18,C2,S4~5,TPAX,Line4,Rx
1,14~18,C1,S9~10,MD48E,COM,Tx | 1,14~18,C1,S6,OA,S-in | MD48E to OA
1,14~18,C1,S9~10,MD48E,COM,Rx | 1,14~18,C1,S7,OA,S-out
Rack Address: 1,14~18
1,14~18,C1,S6,OA,MON | 1,14~18,C1,S8,OCM,1 | OA to OCM
1,14~18,C1,S7,OA,MON | 1,14~18,C1,S8,OCM,2
فعلا در این ایستگاه OCM نصب نشود و فقط Patch Cordها کشیده شود و در زمان Expansion پروژه، OCM مربوط به این ایستگاه نصب خواهد شد که بهتر است، در این مرحله Patch Cordریزی انجام پذیرد.
1,14~18,C1,S6,OA,S-out | 1,14~18,C1,S5,FIM,SIG-I | OA to FIM
1,14~18,C1,S7,OA,S-in | 1,14~18,C1,S5,FIM,SIG-O
1,14~18,C1,S4,OS5,D1,Tx | 1,14~18,C1,S5,FIM,OSC-I | OS5 to FIM
1,14~18,C1,S4,OS5,D1,Rx | 1,14~18,C1,S5,FIM,OSC-O
1,14~18,C1,S5,FIM,LINE-I | Line to Etemadi,Rx | FIM to ODF
1,14~18,C1,S5,FIM,LINE-O | Line to Etemadi,Tx