## Rostam Abad
Board Port Mapping (رستم آباد)
From | To
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx1
Client to Bahonar,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx2 |  |  |  | Rack 1
Client to Bahonar,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx2
Client to Etemadi Bam,GE,Rx | 2b,1~5,C3,S4~5,MP2X+,Tx3 |  | To Etemadi Bam |  |  | PDU
Client to Etemadi Bam,GE,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx3
Client to Baravat,STM-64,Rx | 2b,1~5,C3,S6~7,TPAX,Cli1,Tx | ODF to TPAX | To Baravat
Client to Baravat,STM-64,Tx | 2b,1~5,C3,S6~7,TPAX,Cli1,Rx
Client to Fahraj,STM-64,Rx | 2b,1~5,C3,S6~7,TPAX,Cli2,Tx |  | To Fahraj
Client to Fahraj,STM-64,Tx | 2b,1~5,C3,S6~7,TPAX,Cli2,Rx
Client to Etemadi Bam,STM-64,Rx | 2b,1~5,C3,S6~7,TPAX,Cli4,Tx |  | To Etemadi Bam
Client to Etemadi Bam,STM-64,Tx | 2b,1~5,C3,S6~7,TPAX,Cli4,Rx
Client to Bahonar,10GE,Rx | 2b,1~5,C3,S6~7,TPAX,Cli5,Tx |  | To Bahonar
Client to Bahonar,10GE,Tx | 2b,1~5,C3,S6~7,TPAX,Cli5,Rx
2b,1~5,C3,S4~5,MP2X+,Tx15 | 2b,1~5,C3,S6~7,TPAX,Cli3,Rx | PS6X to TPAX
2b,1~5,C3,S6~7,TPAX,Cli3,Tx | 2b,1~5,C3,S4~5,MP2X+,Rx15 | TPAX to PS6X
[6 empty] | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2b,1~5,C3,S6~7,TPAX,Line1,Tx | 2b,1~5,C2,S13,SM2,COM1,Rx | TPAX to SM2 |  |  |  | PWR | [6 empty] | TP2X-A |  | MP2X+ |  | IFC | SC | SC
2b,1~5,C2,S13,SM2,COM1,Tx | 2b,1~5,C3,S6~7,TPAX,Line1,Rx
2b,1~5,C3,S6~7,TPAX,Line2,Tx | 2b,1~5,C2,S13,SM2,COM2,Rx
2b,1~5,C2,S13,SM2,COM2,Tx | 2b,1~5,C3,S6~7,TPAX,Line2,Rx |  |  |  |  | PWR
2b,1~5,C3,S6~7,TPAX,Line3,Tx | 2b,1~5,C1,S10,SM2,COM1,Rx
2b,1~5,C1,S10,SM2,COM1,Tx | 2b,1~5,C3,S6~7,TPAX,Line3,Rx
2b,1~5,C3,S6~7,TPAX,Line4,Tx | 2b,1~5,C1,S10,SM2,COM2,Rx |  |  |  |  | FAN / HB
2b,1~5,C1,S10,SM2,COM2,Tx | 2b,1~5,C3,S6~7,TPAX,Line4,Rx |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2b,1~5,C3,S6~7,TPAX,Line5,Tx | 2b,1~5,C1,S11,SM2,COM1,Rx |  |  | To Fahraj |  | PWR | SM2 |  | MD48-E |  | MD48-E |  | OA | OA | FIM | WS4 | IFC | SC | SC
2b,1~5,C1,S11,SM2,COM1,Tx | 2b,1~5,C3,S6~7,TPAX,Line5,Rx
2b,1~5,C2,S13,SM2,A1,Tx | 2b,1~5,C2,S8~9,MD48E,Rx72 | SM2 to MD48E |  |  |  | PWR
2b,1~5,C2,S8~9,MD48E,Tx72 | 2b,1~5,C2,S13,SM2,A1,Rx
2b,1~5,C2,S13,SM2,A2,Tx | 2b,1~5,C2,S8~9,MD48E,Rx30
2b,1~5,C2,S8~9,MD48E,Tx30 | 2b,1~5,C2,S13,SM2,A2,Rx |  |  |  |  | FAN / HB
2b,1~5,C2,S13,SM2,B1,Tx | 2b,1~5,C2,S10~11,MD48E,Rx72 |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2b,1~5,C2,S10~11,MD48E,Tx72 | 2b,1~5,C2,S13,SM2,B1,Rx |  |  | To Baravat |  | PWR | HKP | DCM | SM2 | SM2 | WS4 | OCM | OA | OA | FIM | OS5 | IFC | SC | SC
2b,1~5,C2,S13,SM2,B2,Tx | 2b,1~5,C2,S10~11,MD48E,Rx30
2b,1~5,C2,S10~11,MD48E,Tx30 | 2b,1~5,C2,S13,SM2,B2,Rx
2b,1~5,C1,S10,SM2,A1,Tx | 2b,1~5,C2,S8~9,MD48E,Rx44 |  |  |  |  | PWR
2b,1~5,C2,S8~9,MD48E,Tx44 | 2b,1~5,C1,S10,SM2,A1,Rx
2b,1~5,C1,S10,SM2,A2,Tx | 2b,1~5,C2,S8~9,MD48E,Rx18
2b,1~5,C2,S8~9,MD48E,Tx18 | 2b,1~5,C1,S10,SM2,A2,Rx |  |  |  |  | FAN / HB
2b,1~5,C1,S10,SM2,B1,Tx | 2b,1~5,C2,S10~11,MD48E,Rx44
2b,1~5,C2,S10~11,MD48E,Tx44 | 2b,1~5,C1,S10,SM2,B1,Rx
2b,1~5,C1,S10,SM2,B2,Tx | 2b,1~5,C2,S10~11,MD48E,Rx18
2b,1~5,C2,S10~11,MD48E,Tx18 | 2b,1~5,C1,S10,SM2,B2,Rx
2b,1~5,C1,S11,SM2,A1,Tx | 2b,1~5,C2,S8~9,MD48E,Rx54 |  |  |  | Rack Address: 2b,1~5
2b,1~5,C2,S8~9,MD48E,Tx54 | 2b,1~5,C1,S11,SM2,A1,Rx
2b,1~5,C1,S11,SM2,B1,Tx | 2b,1~5,C2,S10~11,MD48E,Rx54
2b,1~5,C2,S10~11,MD48E,Tx54 | 2b,1~5,C1,S11,SM2,B1,Rx
2b,1~5,C2,S8~9,MD48E,COM,Tx | 2b,1~5,C1,S9,WS4,in1 | MD48E to WSS
2b,1~5,C2,S10~11,MD48E,COM,Rx | 2b,1~5,C2,S4,WS4,out2
2b,1~5,C2,S8~9,MD48E,COM,Rx | 2b,1~5,C1,S9,WS4,out1
2b,1~5,C2,S10~11,MD48E,COM,Tx | 2b,1~5,C2,S4,WS4,in2
2b,1~5,C1,S9,WS4,in2 | 2b,1~5,C2,S4,WS4,out1 | WSS to WSS
2b,1~5,C1,S9,WS4,out2 | 2b,1~5,C2,S4,WS4,in1
2b,1~5,C1,S9,WS4,S-out | 2b,1~5,C1,S6,OA,S-in | WSS to OA
2b,1~5,C2,S4,WS4,S-out | 2b,1~5,C2,S6,OA,S-in
2b,1~5,C1,S9,WS4,S-in | 2b,1~5,C1,S12,DCM,DCM-out
2b,1~5,C1,S12,DCM,DCM-in | 2b,1~5,C1,S7,OA,S-out
2b,1~5,C2,S4,WS4,S-in | 2b,1~5,C2,S7,OA,S-out
2b,1~5,C1,S6,OA,S-out | 2b,1~5,C1,S5,FIM,SIG-I | OA to FIM
2b,1~5,C2,S6,OA,S-out | 2b,1~5,C2,S5,FIM,SIG-I
2b,1~5,C1,S7,OA,S-in | 2b,1~5,C1,S5,FIM,SIG-O
2b,1~5,C2,S7,OA,S-in | 2b,1~5,C2,S5,FIM,SIG-O
2b,1~5,C1,S8,OCM,1 | 2b,1~5,C1,S6,OA,MON | OA to OCM
2b,1~5,C1,S8,OCM,2 | 2b,1~5,C1,S7,OA,MON
2b,1~5,C1,S8,OCM,3 | 2b,1~5,C2,S6,OA,MON
2b,1~5,C1,S8,OCM,4 | 2b,1~5,C2,S7,OA,MON
2b,1~5,C1,S4,OS5,D1,Tx | 2b,1~5,C1,S5,FIM,OSC-I | OS5 to FIM
2b,1~5,C1,S4,OS5,D1,Rx | 2b,1~5,C1,S5,FIM,OSC-O
2b,1~5,C1,S4,OS5,D2,Tx | 2b,1~5,C2,S5,FIM,OSC-I
2b,1~5,C1,S4,OS5,D2,Rx | 2b,1~5,C2,S5,FIM,OSC-O
2b,1~5,C1,S5,FIM,LINE-O | Line to Baravat,Tx | FIM to ODF
2b,1~5,C1,S5,FIM,LINE-I | Line to Baravat,Rx
2b,1~5,C2,S5,FIM,LINE-O | Line to Fahraj,Tx
2b,1~5,C2,S5,FIM,LINE-I | Line to Fahraj,Rx