## Sarduiyeh
Board Port Mapping (ساردوییه)
From | To |  |  |  | Rack 1
Client To Bahonar,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client To Bahonar,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx1 |  |  |  |  | PDU
Client To Bahonar,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx2
Client To Bahonar,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx2
Client To Bahonar,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx3
Client To Bahonar,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx3
Client To Bahonar,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx4
Client To Bahonar,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx4
Client To Bahonar,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx5
Client To Bahonar,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx5
Client To Motahari,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx6 |  | To Motahari
Client To Motahari,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx6
Client To Motahari,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx7
Client To Motahari,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx7
Client To Motahari,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx8
Client To Motahari,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx8 |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client To Motahari,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx9 |  |  |  |  | PWR |  |  | MP1H |  | MP1H |  | MP1H |  | MP2X+ |  | IFC | SC | SC
Client To Motahari,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx9
Client To Motahari,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx10
Client To Motahari,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx10 |  |  |  |  | PWR
Client To Motahari,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx11
Client To Motahari,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx11
Client To Shadravan,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx12 |  | To Shadravan |  |  | FAN / HB
Client To Shadravan,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx12 |  |  | To Baft |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client To Shadravan,GE,Rx | 1a,17~21,C3,S4~5,MP2X+,Tx13 |  |  |  |  | PWR |  |  | MD48-E |  | SM2 | WS4 | OA | OA | FIM |  | IFC | SC | SC
Client To Shadravan,GE,Tx | 1a,17~21,C3,S4~5,MP2X+,Rx13
Client To Shadravan,STM-64,Rx | 1a,17~21,C3,S6~7,MP1H,Tx2 | ODF to MP1H | To Shadravan |  |  | PWR
Client To Shadravan,STM-64,Tx | 1a,17~21,C3,S6~7,MP1H,Rx2
Client To Baft,STM-64,Rx | 1a,17~21,C3,S10~11,MP1H,Tx1 |  | To Baft
Client To Baft,STM-64,Tx | 1a,17~21,C3,S10~11,MP1H,Rx1 |  |  |  |  | FAN / HB
|  |  |  | To Shadravan Hoseini |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
1a,17~21,C3,S4~5,MP2X+,Tx15 | 1a,17~21,C3,S6~7,MP1H,Rx1 | MP2X+ to MP1H |  |  |  | PWR | HKP | SM2 | MD48-E |  | WS4 | OCM | OA | OA | FIM | OS5 | IFC | SC | SC
1a,17~21,C3,S6~7,MP1H,Tx1 | 1a,17~21,C3,S4~5,MP2X+,Rx15
1a,17~21,C3,S4~5,MP2X+,Tx16 | 1a,17~21,C3,S8~9,MP1H,Rx1
1a,17~21,C3,S8~9,MP1H,Tx1 | 1a,17~21,C3,S4~5,MP2X+,Rx16 |  |  |  |  | PWR
1a,17~21,C3,S4~5,MP2X+,Tx17 | 1a,17~21,C3,S8~9,MP1H,Rx2
1a,17~21,C3,S8~9,MP1H,Tx2 | 1a,17~21,C3,S4~5,MP2X+,Rx17
FAN / HB
1a,17~21,C3,S6~7,MP1H,Line,Tx | 1a,17~21,C2,S9,SM2,COM1,Rx | MP1H to SM2
1a,17~21,C2,S9,SM2,COM1,Tx | 1a,17~21,C3,S6~7,MP1H,Line,Rx
1a,17~21,C3,S8~9,MP1H,Line,Tx | 1a,17~21,C2,S9,SM2,COM2,Rx
1a,17~21,C2,S9,SM2,COM2,Tx | 1a,17~21,C3,S8~9,MP1H,Line,Rx
1a,17~21,C3,S10~11,MP1H,Line,Tx | 1a,17~21,C1,S12,SM2,COM1,Rx |  |  |  | Rack Address: 1a,17~21
1a,17~21,C1,S12,SM2,COM1,Tx | 1a,17~21,C3,S10~11,MP1H,Line,Rx
1a,17~21,C2,S9,SM2,A1,Tx | 1a,17~21,C2,S10~11,MD48E,Rx24 | SM2 to MD48E
1a,17~21,C2,S10~11,MD48E,Tx24 | 1a,17~21,C2,S9,SM2,A1,Rx
1a,17~21,C2,S9,SM2,A2,Tx | 1a,17~21,C2,S10~11,MD48E,Rx32
1a,17~21,C2,S10~11,MD48E,Tx32 | 1a,17~21,C2,S9,SM2,A2,Rx
1a,17~21,C2,S9,SM2,B1,Tx | 1a,17~21,C1,S10~11,MD48E,Rx24
1a,17~21,C1,S10~11,MD48E,Tx24 | 1a,17~21,C2,S9,SM2,B1,Rx
1a,17~21,C2,S9,SM2,B2,Tx | 1a,17~21,C1,S10~11,MD48E,Rx32
1a,17~21,C1,S10~11,MD48E,Tx32 | 1a,17~21,C2,S9,SM2,B2,Rx
1a,17~21,C1,S12,SM2,A1,Tx | 1a,17~21,C2,S10~11,MD48E,Rx36
1a,17~21,C2,S10~11,MD48E,Tx36 | 1a,17~21,C1,S12,SM2,A1,Rx
1a,17~21,C1,S12,SM2,B1,Tx | 1a,17~21,C1,S10~11,MD48E,Rx36
1a,17~21,C1,S10~11,MD48E,Tx36 | 1a,17~21,C1,S12,SM2,B1,Rx
1a,17~21,C1,S10~11,MD48E,COM,Tx | 1a,17~21,C1,S9,WS4,in2 | MD48E to WSS
1a,17~21,C1,S10~11,MD48E,COM,Rx | 1a,17~21,C1,S9,WS4,out2
1a,17~21,C2,S10~11,MD48E,COM,Tx | 1a,17~21,C2,S8,WS4,in1
1a,17~21,C2,S10~11,MD48E,COM,Rx | 1a,17~21,C2,S8,WS4,out1
1a,17~21,C1,S9,WS4,in1 | 1a,17~21,C2,S8,WS4,out2 | WSS to WSS
1a,17~21,C1,S9,WS4,out1 | 1a,17~21,C2,S8,WS4,in2
1a,17~21,C1,S9,WS4,S-out | 1a,17~21,C1,S6,OA,S-in | WSS to OA
1a,17~21,C2,S8,WS4,S-out | 1a,17~21,C2,S6,OA,S-in
1a,17~21,C1,S9,WS4,S-in | 1a,17~21,C1,S7,OA,S-out
1a,17~21,C2,S8,WS4,S-in | 1a,17~21,C2,S7,OA,S-out
1a,17~21,C1,S6,OA,S-out | 1a,17~21,C1,S5,FIM,SIG-I | OA to FIM
1a,17~21,C2,S6,OA,S-out | 1a,17~21,C2,S5,FIM,SIG-I
1a,17~21,C1,S7,OA,S-in | 1a,17~21,C1,S5,FIM,SIG-O
1a,17~21,C2,S7,OA,S-in | 1a,17~21,C2,S5,FIM,SIG-O
1a,17~21,C1,S6,OA,MON | 1a,17~21,C1,S8,OCM,1 | OA to OCM
1a,17~21,C1,S7,OA,MON | 1a,17~21,C1,S8,OCM,2
1a,17~21,C2,S7,OA,MON | 1a,17~21,C1,S8,OCM,3
1a,17~21,C2,S6,OA,MON | 1a,17~21,C1,S8,OCM,4
1a,17~21,C1,S4,OS5,D1,Tx | 1a,17~21,C1,S5,FIM,OSC-I | OS5 to FIM
1a,17~21,C1,S4,OS5,D1,Rx | 1a,17~21,C1,S5,FIM,OSC-O
1a,17~21,C1,S4,OS5,D2,Tx | 1a,17~21,C2,S5,FIM,OSC-I
1a,17~21,C1,S4,OS5,D2,Rx | 1a,17~21,C2,S5,FIM,OSC-O
1a,6~10,C1,S5,FIM,LINE-I | Line to Shadravan Hosseini,Rx | FIM to ODF
1a,6~10,C1,S5,FIM,LINE-O | Line to Shadravan Hosseini,Tx
1a,6~10,C2,S5,FIM,LINE-I | Line to Baft,Rx
1a,6~10,C2,S5,FIM,LINE-O | Line to Baft,Tx