## Sirch
BoardPortMapping (سیرچ)
From | To |  |  |  | Rack 1
Client to Bahonar,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx1 | ODF to MP2X+ | To Bahonar
Client to Bahonar,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx1 |  |  |  |  | PDU
Client to Bahonar,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx2
Client to Bahonar,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx2
Client to Bahonar,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx3
Client to Bahonar,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx3
Client to Bahonar,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx4
Client to Bahonar,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx4
Client to Motahari,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx5 |  | To Motahari
Client to Motahari,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx5
Client to Motahari,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx6
Client to Motahari,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx6
Client to Ghotbi,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx7 |  | To Ghotbi
Client to Ghotbi,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx7
Client to Ghotbi,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx8
Client to Ghotbi,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx8 |  |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client to Mofatteh,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx9 |  | To Mofatteh | To Shahdad |  | PWR | MP1H |  | MP2X |  | MP2X+ |  | WS4 | OA | OA | FIM | IFC | SC | SC
Client to Mofatteh,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx9
Client to Golbaf,GE,Rx | 2a,21~25,C3,S8~9,MP2X+,Tx10 |  | To Golbaf
Client to Golbaf,GE,Tx | 2a,21~25,C3,S8~9,MP2X+,Rx10 |  |  |  |  | PWR
Client to Shahdad,STM-16,Rx | 2a,21~25,C3,S10~11,MP2X,Tx1 | ODF to MP2X | To Shahdad
Client to Shahdad,STM-16,Tx | 2a,21~25,C3,S10~11,MP2X,Rx1 |  |  |  |  | FAN / HB
Client to Bahonar,STM-16,Rx | 2a,21~25,C3,S10~11,MP2X,Tx9 |  | To Bahonar |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Client to Bahonar,STM-16,Tx | 2a,21~25,C3,S10~11,MP2X,Rx9 |  |  | To Golbaf |  | PWR | MP1H |  | MD48-E |  | WS4 | WS4 | SM2 | OA | OA | FIM | IFC | SC | SC
2a,21~25,C3,S8~9,MP2X+,Tx15 | 2a,21~25,C3,S12~13,MP1H,Rx1 | MP2X+ to MP1H
2a,21~25,C3,S12~13,MP1H,Tx1 | 2a,21~25,C3,S8~9,MP2X+,Rx15 |  |  |  |  | PWR
2a,21~25,C3,S8~9,MP2X+,Tx16 | 2a,21~25,C2,S12~13,MP1H,Rx1
2a,21~25,C2,S12~13,MP1H,Tx1 | 2a,21~25,C3,S8~9,MP2X+,Rx16
FAN / HB
2a,21~25,C3,S10~11,MP2X,Line2,Tx | 2a,21~25,C3,S12~13,MP1H,Rx2 | MP2X to MP1H |  |  |  | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
2a,21~25,C3,S12~13,MP1H,Tx2 | 2a,21~25,C3,S10~11,MP2X,Line2,Rx |  |  | To Bahonar |  | PWR | HKP | OCM | MD48-E |  | WS4 | WS4 | OA | OA | FIM | OS5 | IFC | SC | SC
2a,21~25,C3,S12~13,MP1H,Line,Tx | 2a,21~25,C2,S7,SM2,COM1,Rx | MP1H to SM2
2a,21~25,C2,S7,SM2,COM1,Tx | 2a,21~25,C3,S12~13,MP1H,Line,Rx |  |  |  |  | PWR
2a,21~25,C2,S12~13,MP1H,Line,Tx | 2a,21~25,C2,S7,SM2,COM2,Rx
2a,21~25,C2,S7,SM2,COM2,Tx | 2a,21~25,C2,S12~13,MP1H,Line,Rx
FAN / HB
2a,21~25,C3,S10~11,MP2X,Line1,Tx | 2a,21~25,C1,S10~11,MD48E,Rx88 | MP2X to MD48E
2a,21~25,C1,S10~11,MD48E,Tx88 | 2a,21~25,C3,S10~11,MP2X,Line1,Rx
2a,21~25,C2,S7,SM2,A1,Tx | 2a,21~25,C1,S10~11,MD48E,Rx14 | SM2 to MD48E
2a,21~25,C1,S10~11,MD48E,Tx14 | 2a,21~25,C2,S7,SM2,A1,Rx |  |  |  | Rack Address: 2a,21~25
2a,21~25,C2,S7,SM2,A2,Tx | 2a,21~25,C1,S10~11,MD48E,Rx16
2a,21~25,C1,S10~11,MD48E,Tx16 | 2a,21~25,C2,S7,SM2,A2,Rx
2a,21~25,C2,S7,SM2,B1,Tx | 2a,21~25,C2,S10~11,MD48E,Rx14
2a,21~25,C2,S10~11,MD48E,Tx14 | 2a,21~25,C2,S7,SM2,B1,Rx
2a,21~25,C2,S7,SM2,B2,Tx | 2a,21~25,C2,S10~11,MD48E,Rx16
2a,21~25,C2,S10~11,MD48E,Tx16 | 2a,21~25,C2,S7,SM2,B2,Rx
2a,21~25,C1,S10~11,MD48E,COM,Tx | 2a,21~25,C1,S9,WS4,S-in | MD48E to WSS
2a,21~25,C1,S10~11,MD48E,COM,Rx | 2a,21~25,C1,S9,WS4,S-out
2a,21~25,C2,S10~11,MD48E,COM,Tx | 2a,21~25,C2,S9,WS4,S-in
2a,21~25,C2,S10~11,MD48E,COM,Rx | 2a,21~25,C2,S9,WS4,S-out
2a,21~25,C1,S9,WS4,in1 | 2a,21~25,C1,S8,WS4,out1 | WSS to WSS
2a,21~25,C1,S9,WS4,out1 | 2a,21~25,C1,S8,WS4,in1
2a,21~25,C1,S9,WS4,in2 | 2a,21~25,C3,S7,WS4,out2
2a,21~25,C1,S9,WS4,out2 | 2a,21~25,C3,S7,WS4,in2
2a,21~25,C1,S9,WS4,in3 | 2a,21~25,C2,S8,WS4,out4
2a,21~25,C1,S9,WS4,out3 | 2a,21~25,C2,S8,WS4,in4
2a,21~25,C2,S9,WS4,in1 | 2a,21~25,C1,S8,WS4,out2
2a,21~25,C2,S9,WS4,out1 | 2a,21~25,C1,S8,WS4,in2
2a,21~25,C2,S9,WS4,in2 | 2a,21~25,C3,S7,WS4,out3
2a,21~25,C2,S9,WS4,out2 | 2a,21~25,C3,S7,WS4,in3
2a,21~25,C2,S9,WS4,in3 | 2a,21~25,C2,S8,WS4,out3
2a,21~25,C2,S9,WS4,out3 | 2a,21~25,C2,S8,WS4,in3
2a,21~25,C1,S8,WS4,in3 | 2a,21~25,C2,S8,WS4,out2
2a,21~25,C1,S8,WS4,out3 | 2a,21~25,C2,S8,WS4,in2
2a,21~25,C1,S8,WS4,in4 | 2a,21~25,C3,S7,WS4,out1
2a,21~25,C1,S8,WS4,out4 | 2a,21~25,C3,S7,WS4,in1
2a,21~25,C3,S7,WS4,in4 | 2a,21~25,C2,S8,WS4,out1
2a,21~25,C3,S7,WS4,out4 | 2a,21~25,C2,S8,WS4,in1
2a,21~25,C1,S8,WS4,S-out | 2a,21~25,C1,S6,OA,S-in | WSS to OA
2a,21~25,C1,S8,WS4,S-in | 2a,21~25,C1,S7,OA,S-out
2a,21~25,C3,S7,WS4,S-out | 2a,21~25,C3,S5,OA,S-in
2a,21~25,C3,S7,WS4,S-in | 2a,21~25,C3,S6,OA,S-out
2a,21~25,C2,S8,WS4,S-out | 2a,21~25,C2,S5,OA,S-in
2a,21~25,C2,S8,WS4,S-in | 2a,21~25,C2,S6,OA,S-out
2a,21~25,C2,S5,OA,S-out | 2a,21~25,C2,S4,FIM,SIG-I | OA to FIM
2a,21~25,C2,S6,OA,S-in | 2a,21~25,C2,S4,FIM,SIG-O
2a,21~25,C1,S6,OA,S-out | 2a,21~25,C1,S5,FIM,SIG-I
2a,21~25,C1,S7,OA,S-in | 2a,21~25,C1,S5,FIM,SIG-O
2a,21~25,C3,S5,OA,S-out | 2a,21~25,C3,S4,FIM,SIG-I
2a,21~25,C3,S6,OA,S-in | 2a,21~25,C3,S4,FIM,SIG-O
2a,21~25,C1,S6,OA,MON | 2a,21~25,C1,S12,OCM,1 | OA to OCM | فعلا در این ایستگاه OCM نصب نشود و فقط Patch Cordها کشیده شود و در زمان Expansion پروژه، OCM مربوط به این ایستگاه نصب خواهد شد که بهتر است، در این مرحله Patch Cordریزی انجام پذیرد.
2a,21~25,C1,S7,OA,MON | 2a,21~25,C1,S12,OCM,2
2a,21~25,C2,S6,OA,MON | 2a,21~25,C1,S12,OCM,3
2a,21~25,C3,S6,OA,MON | 2a,21~25,C1,S12,OCM,4
2a,21~25,C1,S4,OS5,D1,Tx | 2a,21~25,C1,S5,FIM,OSC-I | OS5 to FIM
2a,21~25,C1,S4,OS5,D1,Rx | 2a,21~25,C1,S5,FIM,OSC-O
2a,21~25,C1,S4,OS5,D2,Tx | 2a,21~25,C2,S4,FIM,OSC-I
2a,21~25,C1,S4,OS5,D2,Rx | 2a,21~25,C2,S4,FIM,OSC-O
2a,21~25,C1,S4,OS5,D3,Tx | 2a,21~25,C3,S4,FIM,OSC-I
2a,21~25,C1,S4,OS5,D3,Rx | 2a,21~25,C3,S4,FIM,OSC-O
2a,21~25,C2,S4,FIM,LINE-I | Line to Golbaf,Rx | FIM to ODF
2a,21~25,C2,S4,FIM,LINE-O | Line to Golbaf,Tx
2a,21~25,C1,S5,FIM,LINE-I | Line to Bahonar,Rx
2a,21~25,C1,S5,FIM,LINE-O | Line to Bahonar,Tx
2a,21~25,C3,S4,FIM,LINE-I | Line to Shahdad,Rx
2a,21~25,C3,S4,FIM,LINE-O | Line to Shahdad,Tx